{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":56,"n_cols":13,"rows_kept":56,"merged":[[0,0,0,12],[2,1,2,2],[50,0,50,2],[51,1,51,2],[52,0,52,10],[53,0,53,12]],"flags":["formulas_cached_only"]}
["软件园、韩资园、东方之洲、东方电子厂房、韩资园五期、光电园、综保区、新能源研发楼、未来科技城电梯维护保养服务项目"]
["序号","园区名称","电梯品牌种类","数量(台)","设备型号","层站","使用起始 年限","有无机房","维保起止时间","乘客电梯、货梯额定速度","全费用单价           (元/台/年)","合价（元）","备注"]
["一","电梯维护保养费"]
[1,"软件园6#楼","日立电梯",6,"MCA-1050-CO90","16∕16","2013.08","有","2026.1.1～2026.12.31","1.50m∕s",null,{"v":0,"d":"0.00"}]
[2,"光电产业园","通用曳引式货梯",6,"THJ2000/0.5-JXW","2∕2","2013.05","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[3,"新能源研发楼2、3#楼","日立曳引驱动乘客电梯",2,"UAX-1000-CO60","4∕4","2012.05","无","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[4,"新能源研发楼1#楼","日立曳引驱动乘客电梯",2,"UAX-800-CO60","4∕4","2012.05","无","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[5,"新能源研发楼4#楼","日立曳引驱动乘客电梯",2,"LCA-1050-C060","4∕4","2012.05","无","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[6,"综保区1#电子厂房","傲途曳引驱动载货电梯",4,"ATF20(3000/0.5)","4∕4","2015.05","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[7,"韩资园K2-16","怡达牌货梯",1,"EHJ20","2∕2","2014.12","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[8,"韩资园K2-18","怡达牌货梯",1,"EHJ20","2∕2","2014.12","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[9,"韩资园K2-20","怡达牌货梯",1,"EHJ20","2∕2","2014.12","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[10,"韩资园8#(拓福)标准厂房","富士佳货梯",1,"THJ2000/.05","2∕2","2013.02","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[11,"韩资工业园20#厂房(阿现特)","西继迅达曳引驱动载货电梯",1,"8000-HT-30-05-2-XS","3∕3","2014.07","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[12,"邻里中心综合服务中心主楼","西继迅达电梯(客梯)",2,"9000-KT-11-15-2-XS","6∕6","2014.07","有","2026.1.1～2026.12.31","1.5m∕s",null,{"v":0,"d":"0.00"}]
[13,"邻里中心综合服务中心辅楼","西继迅达电梯(客梯)",2,"9000-WT-10-10-2-XS","4∕4","2014.07","有","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[14,"韩资社区宿舍楼A、B、C幢","日立观光客梯",3,"A06701∕B06699∕C06700","6∕6","2016.03","无","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[15,"韩资社区宿舍楼D、E、F幢","东芝观光电梯",3,"D23851∕E23850∕F23849","6∕6","2016.12","无","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[16,"韩资园3、4、5、6电子厂房","上海三菱曳引驱动乘客电梯",6,"LEHY-MRL","4∕4","2017.10","无","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[17,"韩资园3、4、5、6电子厂房","上海三菱曳引驱动货梯",8,"HOPE-IIG","4∕4","2017.10","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[18,"综保区二期封关新建标厂","西继讯达曳引驱动载货电梯",32,"VT－XZ","4∕4","2018.09","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[19,"东方之洲门户区B11楼","西继迅达拽引驱动乘客电梯",2,"Schindler 5500AP MMR","2∕2",2017.12,"无","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[20,"东方之洲门户区B9楼","西继迅达拽引驱动乘客电梯",6,"Schindler 5500AP ","6∕6",2018.9,"有","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[21,"东方之洲C4、C7电子厂房","西继迅达拽引驱动乘客电梯",15,"Schindler 5400","5∕5",2018.12,"有","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[22,"东方之洲C4、C7电子厂房","菱王拽引驱动载货电梯",20,"LTHX","5∕5",2018.1,"有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[23,"韩资园五期1、2#楼","东芝电梯",4,"ELCOSMO-III","3∕3","2018.10","有","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[24,"韩资园五期9、10#楼","东芝电梯",4,"ELCOSMO-III","4∕4","2018.10","有","2026.1.1～2026.12.31","1.0m∕s",null,{"v":0,"d":"0.00"}]
[25,"韩五期五期9、10#楼","东芝货梯",4,"NEWSTAR-III","4∕4","2018.10","有","2026.1.1～2026.12.31","0.5m∕s",null,{"v":0,"d":"0.00"}]
[26,"科技绿洲邻里中心7号楼","迅达曳引驱动乘客电梯",4,"Schindler 3000","8∕8","2023.08","无","2026.1.1～2026.12.31","1.5m∕s",null,{"v":0,"d":"0.00"}]
[27,"科技绿洲邻里中心9号楼","迅达曳引驱动乘客电梯",2,"Schindler 3000","6∕6","2023.07","无","2026.1.1～2026.12.31","1.5m∕s",null,{"v":0,"d":"0.00"}]
[28,"未来科技城北区","奥的斯电梯",16,"Arise","16/16","2022.11","有","2026.1.1～2026.12.31","1.75m/s",null,{"v":0,"d":"0.00"}]
[29,"未来科技城北区","奥的斯电梯",2,"Arise","3/3","2022.11","无","2026.1.1～2026.12.31","1.75m/s",null,{"v":0,"d":"0.00"}]
[30,"未来科技城北区","巨人通力电梯",2,"GFN23","4/4","2022.11","无","2026.1.1～2026.12.31","0.5m/s",null,{"v":0,"d":"0.00"}]
[31,"未来科技城南区A1.A2#、D1-4#、B1#","蒂森克虏伯",25,"thyssenkrupp meta 200MR","16/16",2020.01,"有","2026.1.1～2026.12.31","2.0m/s",null,{"v":0,"d":"0.00"}]
[32,"未来科技城南区A1A2中庭","蒂森克虏伯",2,"thyssenkrupp meta 200MR","5/5",2020.01,"有","2026.1.1～2026.12.31","1.0m/S",null,{"v":0,"d":"0.00"}]
[33,"未来科技城南区B2、B3","蒂森克虏伯",6,"thyssenkrupp meta 200MR","15/15",2020.01,"有","2026.1.1～2026.12.31","2.0m/s",null,{"v":0,"d":"0.00"}]
[34,"未来科技城南区B2B3裙楼东北角","蒂森克虏伯",1,"thyssenkrupp meta 200MR","2/2",2020.01,"有","2026.1.1～2026.12.31","1.0m/S",null,{"v":0,"d":"0.00"}]
[35,"未来科技城南区行政服务中心扶梯旁边","蒂森克虏伯",2,"thyssenkrupp meta 200MR","4/4",2020.01,"有","2026.1.1～2026.12.31","1.0m/S",null,{"v":0,"d":"0.00"}]
[36,"未来科技城南区行政服务中6台","曼隆蒂森克虏伯",6,"MSC","2/2",2020.01,"有","2026.1.1～2026.12.31","0.5m/S",null,{"v":0,"d":"0.00"}]
[37,"未来科技城南区A1A2#、D1、D3#","现代",4,"STVF","16/16",2020.01,"有","2026.1.1～2026.12.31","1.75m/S",null,{"v":0,"d":"0.00"}]
[38,"未来科技城南区B1#警务站","现代",2,"STVF","5/5",2020.01,"有","2026.1.1～2026.12.31","1.75m/S",null,{"v":0,"d":"0.00"}]
[39,"未来科技城南区B2、B3#","现代",2,"STVF","15/15",2020.01,"有","2026.1.1～2026.12.31","1.75m/S",null,{"v":0,"d":"0.00"}]
[40,"未来科技城南区D4、B1、D2#","现代",3,"STVF","16/16",2020.01,"有","2026.1.1～2026.12.31","1.75m/S",null,{"v":0,"d":"0.00"}]
[41,"未来科技城南区C2#","三菱",3,"MAXIEZ-CZ","16/16",2019.01,"有","2026.11.6～2026.12.31","2.0m/s",null,{"v":0,"d":"0.00"}]
[42,"未来科技城南区C2裙楼","三菱",2,"MAXIEZ-LZ","5/5",2019.12,"有","2026.11.6～2026.12.31","1.75m/S",null,{"v":0,"d":"0.00"}]
[43,"未来科技城南区C2西侧","三菱",1,"MAXIEZ-CZ","16/16",2019.12,"有","2026.4.9～2026.12.31","2.0m/s",null,{"v":0,"d":"0.00"}]
[44,"未来科技城南区B1食堂","蒂森克虏伯",1,"thyssenkrupp meta 200MR","4/4",2020.01,"有","2026.1.1～2026.12.31","1.0m/S",null,{"v":0,"d":"0.00"}]
[45,"未来科技城南区B1食堂","别克派利尔",2,"TWJ200/0.4-AS.PC","2/2",2020.01,"有","2026.1.1～2026.12.31","0.4m/S",null,{"v":0,"d":"0.00"}]
[46,"未来科技城南区C3主楼","三菱",4,"MAXIEZ-CZ","16/16",2019.12,"有","2026.1.1～2026.12.31","2.0m/s",null,{"v":0,"d":"0.00"}]
[47,"未来科技城南区C3裙楼","三菱",2,"MAXIEZ-LZ","5/5",2019.12,"有","2026.1.1～2026.12.31","1.75m/S",null,{"v":0,"d":"0.00"}]
["小计",null,null,232,"/","/","/","/","/","/","/",{"v":0,"d":"0.00"}]
["二","特种设备检验检测费用",null,232,{"$nulls":7},0]
["\t合     计",{"$nulls":10},{"v":0,"d":"0.00"}]
["说明：1、投标报价为半包（包工包料），投标报价是指按招标人提供的招标服务内容，进行电梯的维护保养服务而涵盖的所有费用，包括但不仅限于人工费、材料费、配件费[免费提供部分电梯零部件（单价500元及以下、轿厢照明、层门滑块、润滑油）]、资料费、仪器设备或机械使用费、电梯年度检验检测费用、电梯保险费、提供技术资料、技术服务、配合特种设备检验检测机构进行电梯的定期检验、管理费、规费、利润、税金，同时还应充分考虑市场风险、国家政策性调整风险系数以及承担的义务、责任、风险等一切因素，并计入投标报价中。\n     2、更换的零部件要求：在电梯维保期间均采用原电梯使用的品牌零部件，并在更换前经招标人确认。\n     3、每月2次派持有《特种设备作业人员证》（作业项目：电梯作业）的维保人员对电梯进行清洁、润滑、调整和检查等日常维护或保养性工作。\n     4、提供24小时全天候急修服务。"]
[null,"投标单位盖章："]
[null,"时间："]